Manufacturers Proprietary Specification

SPECIFIER NOTE: This specification should be reviewed by Dynamic Closures as listed in Section 2 .1 below prior to using for construction purposes.

SECTION: 08 33 00

COILING DOORS AND GRILLES

1. **GENERAL**
	1. SUMMARY

Edit the following paragraphs to include only those items specified in this section.

* + 1. Section Includes:
			1. Manual push-up [strap] [crank] [electric motor operated] overhead rolling doors.
			2. Operating hardware [, controls,] and supports.

Coordinate the following paragraphs with other sections in the project manual.

* + 1. Related Sections:
			1. 05500 Metal fabrications; door jamb and header.
			2. 06100 Rough carpentry; door jamb and header.
			3. 08310 Access doors and panels.
			4. 08710 Door hardware; keyed mortise cylinders
			5. Division 16; all miscellaneous wiring for electric motors and accessories.
	1. REFERENCES
		1. ASTM International (ASTM) ([www.astm.org](http://www.astm.org)) B221 - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes.
	2. SUBMITTALS

Include the following for submission of shop drawings, product data, and samples for the Architect's review.

* + 1. Submittals for Review:
			1. Shop Drawings: Indicate opening dimensions and required tolerances, connection details, anchorage spacing, hardware locations, and installation details.
			2. Product Data: Provide information on door construction, components, materials, and finishes.

Include the following for submission of sustainable design submittals.

* + 1. Sustainable Design/LEED Submittals: Documentation of recycled content and location of manufacturer.
			1. LEED, MR Credit 4 – Recycled Content: Provide documentation for cost of products having recycled content indicating percentages by weight of postconsumer plus 1/2 of the preconsumer content.
			2. LEED, MR Credit 5 – Regional Materials: Provide documentation for cost of materials or products that have been extracted, harvested, or recovered and also manufactured within 500 miles of project site.

Include the following for submission of closeout submittals for the Owner's record purposes.

* + 1. Closeout Submittals:
			1. Operation and Maintenance Data.
	1. QUALITY ASSURANCE

A. Manufacturer Qualifications: Minimum of three years experience in the fabrication and installation of Coiling Doors and Grilles.

B. Installer Qualifications: Authorized representative of the manufacturer.

* 1. DELIVERY, STORAGE AND HANDLING

A. Reference Section 01660 Product Storage and Handling Requirements.

B. Deliver materials in labeled protective packages. Store and handle in compliance with manufacturer's instructions.

* 1. WARRANTIES
		1. Provide manufacturer’s 1 year warranty against defects in materials and workmanship.
1. **PRODUCTS**
	1. MANUFACTURERS

The following list includes manufacturers that are known to produce one or more of the products specified in this section, and that have websites available to assist in product research. Careful consideration of product attributes in relationship to project requirements is required before including products in the paragraphs that follow. This list is not intended to include every available manufacturer.

* + 1. Contract Documents are based on products by Dynamic Closures Corporation. ([www.dynamicclosures.com](http://www.dynamicclosures.com)) Telephone: 1-800-663-4599; Fax: 1-800-205-6665
		E-mail: CustomerService@DynamicClosures.com
		2. Equivalent products by the following manufacturers are acceptable:
			1. CHI Overhead Doors. ([www.chiohd.com](http://www.chiohd.com))

Edit the following to indicate whether or not substitutions will be permitted for the products in this section.

* + 1. Substitutions: [Under provisions of Division 01.] [Not permitted.]
	1. MATERIALS
		1. Aluminum Extrusions: ASTM B221, 6063-T5 or T6 alloy and temper.
	2. COMPONENTS
		1. RF-55 Curtain
			1. Horizontal Slats: Roll formed double wall aluminum interlocking flat slats. Slat width shall be 2-5/32 inches (55mm) high by 35/64 inch (14mm) wide filled with regular density polyurethane foam.
		2. Bottom Bar: Double-walled extruded aluminum with polypropylene felt weather-stripping on bottom to seal for light and sound.
		3. Hood: 18 gauge (.040) thickness preformed sheet aluminum.
		4. Guides: Extruded aluminum 2-5/16 inch (59mm) by 1 1/8 inch (28mm) fitted with two rows of polypropylene felt weather stripping for quiet operation and to cushion both sides of curtain.
		5. Counterbalance: Helical torsion spring assembly set in roll formed galvanized steel pipe of recommended size by manufacturer to support curtain with a maximum deflection of .03 inch (.8mm) per foot (305mm) of curtain width.
		6. Bracket Plates: Minimum 3/16 inch (5mm) thick die cast aluminum to support counterbalance assembly, curtain and hood.

Choose one of the following paragraphs to suit project requirements.

* + 1. Operation:
			1. Manual push-up.

Or

* + - 1. Hand crank from coil side of curtain.

Or

* + - 1. Strap operation from secure side of curtain.

Or

* + - 1. Electric Motor: Tubular motor, size recommended by manufacturer.

a. Keyed control stations: Constant contact operation, flush mounted one or both sides of curtain for secure operation.

Include the following for locking doors; edit to suit project requirements.

* + 1. Lock: Located on bottom bar; [slide locks on secured side of curtain.] [Keyed cylinder centered [interior] [exterior].
		2. Finish-Exposed Aluminum Parts: Multi-coat baked enamel polyester resin coating colors as follows: [white] [beige] [bronze] as selected by Architect.
1. **EXECUTION**
	1. INSTALLATION
		1. Install door assembly in accordance with manufacturer's instructions.
		2. Follow approved shop drawings.

 C. Fit and align grille assembly including hardware, level and plumb, to provide smooth operation.

* 1. ADJUSTING/MAINTENANCE
		1. Test Operation of door and adjust to provide smooth and proper operation.
		2. Clean exposed surfaces using manufacturers recommended cleanser.

END OF SECTION